Task Procedure for ALICE

[ Task Procedure = simplified version of the Specific Plan for Health and Safety, adapted for ALICE Collaboration. - PPSPS = Plan Particulier de Sécurité et de Protection de la Santé ]

Task to be realized		…………………………………………………………………

Location of work		…………………………………………………………………

Dates of work		start …………………		end  …………………….

Sub-project	………………………………	Institute	…………………..

Sub-project Leader	………………………	phone		……………………….

Safety link-person 	………………………	phone		……………………….

Work-Package Engineer ………………………	phone		……………………….

Local Work supervisor ……………………… 	phone		……………………….

Experimental-Area Manager	Pieter IJzermans	phone		16 48 21

Persons involved	…………………………	task, qualification	………………….

…………………………	task, qualification	………………….

…..

Brief description of work procedure

……………………………………………………………………………………………….

……………………………………………………………………………………………….

……………………………………………………………………………………………….

The detailed work procedure will be described step by step in the following table.

For each step, the risk will be assessed, and the mitigating measures will be described.

The needs in handling and transport by professionals must also be given.

The following risk must be assessed [some collective or personal protective measures are also given as example]:

Noise generated by the task, working at heights (on scaffoldings or “nacelle”, precise height) [safety perimeters, harness], use of flammable gas or chemicals (add MSDS), hot works (give No of fire-permit), use of radioactive sources (give No) [safety perimeters, film-badge] or lasers (precise type) [safety perimeters, goggles], generation of high voltages or magnetic fields, vacuum and pressure tanks [SC No], confined spaces [special procedure], any other specific risks…

Needs for lifting equipment, including lifting jigs (give SC approval)

| Detailed description (step by step) of the work procedure | Risk assessment | Preventive measures (collective), |
| --- | --- | --- |
| Solder piece A on support B | Hot work | Fire Permit No … Extinguisher |
| Lift and guide piece C above frame D | Weight = xxx kg Work in height = risk of fall | Needs DBS mobile crane Scaffolding H= yy m Person X is trained |

Responsibility

The Work-Package Engineer is responsible of this procedure.

The Work-Package Engineer and the Work-Package work supervisor certify that the persons involved have the proper qualifications and have been properly informed about safety aspects of the work.

WPE		……………………………..	 date	………………….

WPWS	……………………………..	 date	………………….

Approval

A.M. (also TSO)	Pieter IJzermans	date	…………...	...................................

16 4821

Safety Coordinator  	Emmanuel Paulat	date	…………...	………………………

16 3870

TS Transport Coord.	Jacky Bernard		date	…………...	………………………

16 0583

If needed, also sent to:

Integration & Installation Coordinator, 	Lars Leistam		16 0551

GLIMOS 					Marc Tavlet		16 0217 ou 70608

Commissioning Coordinator

(and Deputy Glimos),			Hans Taureg		16 0359

SC Inspector					Hervé Buret		16 0013

This task procedure must be on display at the place of work.